Supplementary Information

Metal-halide perovskite submicrometer-thick films for ultra-stable self-powered direct X-ray detectors

Marco Girolami1, *, Fabio Matteocci2, Sara Pettinato1, 3, Valerio Serpente1, Eleonora Bolli1, Barbara Paci4, Amanda Generosi4, Stefano Salvatori1,3, Aldo Di Carlo2,4, and Daniele M. Trucchi1

1CNR-ISM, Consiglio Nazionale delle Ricerche, Istituto di Struttura della Materia, Sede Secondaria di Montelibretti, DiaTHEMA Lab, Strada Provinciale 35D, 9, 00010 Montelibretti, Roma, Italy

2CHOSE – Centre for Hybrid and Organic Solar Energy, Department of Electronic Engineering, University of Rome ‘‘Tor Vergata’’, Via del Politecnico 1, 00133 Roma, Italy

Italy

3Faculty of Engineering, Università degli Studi Niccolò Cusano, Via don Carlo Gnocchi 3, 00166 Roma, Italy

4CNR-ISM, Consiglio Nazionale delle Ricerche, Istituto di Struttura della Materia, Area della Ricerca di Tor Vergata, SpecXLab, Via del Fosso del Cavaliere 100, 00133 Roma, Italy

*Corresponding author. E-mail: marco.girolami@ism.cnr.it

Fig. S1. Photoluminescence stability over time of the FAPbBr3 thin film. The spectra have been offset for clarity.

Fig. S2. EDX spectrum recorded from the complete device stack (Glass/FTO/c-TiO2/m-TiO2/FAPbBr3/PTAA/ITO) in the 0 – 10 keV range.

Fig. S3. Picture of 16 samples of the multi-layer stack used for the fabrication of the prototypal X-ray detector. Red and green boxes are a guide to the eye to indicate the lateral sizes of the collecting electrodes (red = ITO, green = FTO). Yellow box, obtained from the overlap of red and green boxes, visualizes the active area of the detector.

Fig. S4. Statistical dispersion of the power conversion efficiency (PCE) values obtained from a batch of 123 multi-layer stacks tested as semi-transparent perovskite solar cells (ST-PSCs), measured under forward (red bins) and reverse (black bins) scan directions at AM1.5G 1Sun illumination condition. The normal dispersion curves of PCE results are then calculated in order to extrapolate the average PCE values for each scan direction.

Fig. S5. J-V characteristics of the best performing ST-PSC measured under forward (dashed line) and reverse (solid line) scan directions at AM1.5G 1 Sun illumination condition.

Fig. S6. Transmittance of the full ST-PSC device in the 200 – 850 nm wavelength range.  The average visible transmittance (AVT) is 52%.

Fig. S7. a) PCE vs. AVT and b) LUE (Light Utilization Efficiency) vs. AVT graphs showing the state-of-the-art results for ST-PSCs reported by Almora et al. (dark gray dots) [S1] and  Matteocci et al. (light gray dots) [S2] on MAPbBr3-xClx, and the results presented in this work (red stars).

Fig. S8. Amplitude of the modulated photocurrent of two different FAPbBr3 thin film devices (FS-VI and FS-VIII) in the 200 – 700 nm wavelength range at VB = 0 V. Peaks appearing in the 300 – 500 nm are caused by the strong spectral lines of the Xe-Hg lamp, whereas the peak at about 550 nm is the excitonic peak.

Fig. S9. Phase of the modulated photocurrent of two different FAPbBr3 thin film devices (FS-VI and FS-VIII) in the 200 – 700 nm wavelength range at VB = 0 V.

Fig. S10. Responsivity of two different FAPbBr3 thin film devices (FS-VI and FS-VIII) in the 400 – 700 nm wavelength range at VB = 0 V.

Fig. S11. Specific detectivity of two different FAPbBr3 thin film devices (FS-VI and FS-VIII) in the 400 – 700 nm wavelength range at VB = 0 V.

Fig. S12. Dark current density (Jd) vs. bias voltage (VB) measured for two different FAPbBr3 thin film devices (FS-VI and FS-VIII) in forward bias mode (up to +1.5 V) and in reverse bias mode (down to -1.5 V).

Note: The semilogarithmic Jd vs. VB plots show two distinguishable bias-dependent regions in forward mode. The low bias region (VB < 1 V) is dominated by a high shunt resistance, reflecting a very low leakage current between the electric contacts and the active layer. In the high bias region (VB > 1 V), plots are almost parallel and follow an exponential behaviour due to the diode characteristics. Conversely, in reverse mode, only the shunt resistance regime is present, implying that the bias voltage is not intense enough to trigger breakdown. In addition, absolute bias voltage being equal, the dark current is always lower in reverse mode than in forward mode.

Fig. S13. Amplitude of the modulated photocurrent of a FAPbBr3 thin film device (FS-VI) in the 300 – 800 nm wavelength range measured at two different bias voltages: 0 V (blue curve) and -0.5 V (red curve). Peaks appearing in the 300 – 500 nm wavelength range are caused by the strong spectral lines of the Xe-Hg lamp, whereas the peak at about 550 nm is the excitonic peak.

Fig. S14. Dark current measured as a function of time for a FAPbBr3 thin film device (FS-VI) at three different bias voltages: 0 V (blue curve), -0.05 V (red curve9, and -0.1 V (green curve).

.

Fig. S15. Response time of a FAPbBr3 thin film device (FS-VI) to X-rays at VB = 0 V. Acceleration voltage was set to 40 kV, tube current was set to 15 mA, corresponding to a dose-rate of 69.3 μGy s-1. The delay time between two measurement points was set to 0.25 s.

Note: The photocurrent is generated when X-rays are switched on, then the signal drops to zero when X-rays are switched off. Therefore, both the rise (tr) and decay (td) time include the response time of the detector and the on/off time of the X-ray tube. The signal rises from 10% to 90% of its stationary value within the delay time between three measurement points, so the upper limit for tr is 0.5 s, whereas it decays from 90% to 10% of its stationary value within the delay time between two measurement points, so the upper limit for td is only 0.25 s.

Fig. S16. Total current (dark current + photocurrent) measured at VB = 0 V for a FAPbBr3 thin film device (FS-VI) when irradiated at the lowest dose-rate (644 nGy s-1) available with the adopted X-ray source. The shutter is opened at t = 100 s, and the current rises immediately from its value in dark conditions (about 127 pA) to a stable value of about 175 pA.

Supplementary Note 1: Estimation of the upper sensitivity limit under keV-range X-rays

The upper theoretical limit of the specific surface sensitivity Smax (C Gy-1 cm-2) of a detector for ionizing radiation can be derived from the maximum theoretical photocurrent density Jmax (A cm-2) obtainable at a given dose-rate in air D (J kg-1) :

Smax=JmaxD

The maximum theoretical photocurrent is given by:

Jmax=eβ=eEphEi

where e = 1.61  10-19 C is the electron charge,  (cm-2 s-1) is the flux of photons effectively absorbed by the active layer per unit time (i.e., the absorbed photon flux), and β = Eph/Ei is the maximum number of electron-hole pairs photogenerated by a single photon with energy Eph. The quantity Ei is the electron-hole pair creation energy, which can be expressed (in eV) as Ei = 2Eg + 1.43 (where Eg is the bandgap energy), according to an empirical model [S3] used to successfully predict Ei for most of the semiconductors, and therefore widely employed in the field of X-ray detectors.

Aimed at calculating the absorbed photon flux , it is necessary to evaluate the dose-rate effectively absorbed by the active layer (DP), which can be obtained by the dose-rate measured in air (D) by the simple proportionality relationship DP/D = μP/μ, where μP and μ (cm2 g-1) are the mass attenuation coefficients of the active layer material and dry air, respectively, at the photon energy Eph. In this way, by supposing that X-rays are uniformly absorbed within the submicrometer-thick active layer, the absorbed photon flux can be expressed as:

DPρdEph=DμPμρdEph

where ρ (g cm-3) and d (cm) are the active layer density and thickness, respectively.

By substitution, we can now obtain two simple operative expressions to evaluate Jmax and Smax by only measuring the dose-rate in air D:

Jmax=eDμPρdμEi

Smax=eμPρdμEi

In the case of the device introduced in this work, the active material is a FAPbBr3 thin film with thickness d = 255  10-7 cm. For the estimation of Jmax, we assumed [S4] ρ = 3.79 g cm-3, whereas μP was obtained by using the XCOM software [S5] provided by NIST (National Institute of Standards and Technology). Figure S17 reports the mass attenuation coefficient and the relative X-ray absorption (i.e., the fraction of incident photons effectively absorbed) of FAPbBr3 in the 1 keV – 10 MeV energy range.

Fig. S17. Relative X-ray absorption (blue curve) and mass attenuation coefficient (red curve) of FAPbBr3 in the 1 keV – 10 MeV energy range. The relative X-ray absorption coefficient (𝜖) was directly obtained from μP by applying the relationship: 𝜖 = 1 – exp(–μP ρd).

By considering a photon energy Eph = 8.05 keV, which is the most probable energy in the case of a Cu-target X-ray tube, the mass attenuation coefficient is μP = 140.80 cm2 g-1, corresponding to a relative X-ray absorption 𝜖 = 1.36% for a 255 nm-thick film. At the same photon energy (8.05 keV), the mass attenuation coefficient of dry air [S6] is μ = 9.92 cm2 g-1. Finally, being the bandgap energy Eg = 2.28 eV, the estimated electron-hole pair creation energy is Ei = 2  2.28 + 1.43 = 5.99 eV = 9.58  10-19 J.

By substituting all the numerical values into the Smax equation we obtain:

Smax=eμPρdμEi=0.23μCGy−1cm−2

Fig. S18. Semilogarithmic plot of the photoconductive gain factor (G) as a function of the absorbed photon flux () for  > 104 cm-2 s-1. Red dashed line indicates the best fit to data obtained by using a mono-exponential decay equation.

Fig. S19. Extrapolation of gain factor data for high absorbed photon flux values. Solid red line indicates the best exponential decay fit to data. Dashed black arrow indicates the extrapolated absorbed photon flux corresponding to G = 1.

Fig. S20. Relative X-ray absorption (blue plot) and maximum theoretical sensitivity (red plot) at a photon energy Eph = 8.05 keV of a  FAPbBr3 thin film as a function of thickness in the 250 – 1000 nm range.

Fig. S21. Responsivity of a FAPbBr3 thin film device (FS-VI) in the UV-Vis-NIR wavelength range (250 – 800 nm) at VB = 0 V. Blue curve refers to measurements performed before starting X-ray characterization, whereas red curve has been measured after 26 days of uninterrupted X-ray irradiation.

Fig. S22. Specific detectivity of a FAPbBr3 thin film device (FS-VI) in the UV-Vis-NIR wavelength range (250 – 800 nm) at VB = 0 V. Blue curve refers to measurements performed before starting X-ray characterization, whereas red curve has been measured after 26 days of uninterrupted X-ray irradiation.

Fig. S23. Logarithmic plot of the total current (dark current + photocurrent) measured at VB = 0 V in the final 200 s of the 26-day long X-ray irradiation period, showing a slight increase of the average dark current with respect to the initial value (Fig. 4d).

Fig. S24. Dark current measured as function of time for two FAPbBr3 thin film-based device stacks: with (black plot) and without (red plot) the mesoporous TiO2 scaffold.

Fig. S25. Total current (dark current + photocurrent) measured under X-ray irradiation at different dose-rates for two FAPbBr3 thin film-based device stacks: with (black plot) and without (red plot) the mesoporous TiO2 scaffold. X-ray tube voltage was set to 40 kV. Dose-rate was varied every 100 s in the 3.3 – 31.3 μGy s-1 range, with dose-rate steps of 4 μGy s-1. Dashed lines are a visual guide to indicate the dark current drift: no drift for the device with m-TiO2, and a positive drift (red arrow) for the device without m-TiO2. It is worth observing that the minimum dose-rate (3.3 μGy s-1) is detected by the device without m-TiO2 only in the rising phase of the curve; conversely, in the falling phase, the photocurrent signal is completely masked by the background noise (blue circle), due to the positive drift of the dark current.

Supplementary Note 2: Estimation of the electron trap density

The electron trap density of the FAPbBr3 255-nm thick active layer of the X-ray detector was estimated by performing space-charge-limited-current (SCLC) measurements on the electron-only device. The current flowing in the device was measured in dark conditions as a function of the applied bias voltage in the 0 – 3 V range (corresponding to an applied electric field approximately in the 0 – 11.8 V mm-1 range) by means of a Keithley 6517A electrometer. Results are shown in Fig. S26.

Fig. S26. Log-log plot of the dark current density of a FAPbBr3 thin film-based electron-only device as a function of the applied bias voltage. The three coloured boxes are a visual guide to define the voltage ranges of the three identified charge transport regimes: Ohmic (light blue), trap-filled-limited (light yellow), and Child (gray). Dashed lines indicate the best power fits (J  Vn) to the experimental data. The values of n extracted from the fitting process are also shown.

As can be seen, three different charge transport regimes can be identified. For V < 0.22 V the dark current density increases linearly with the applied bias voltage (J  V) according to Ohm’s law. At V = 0.22 V, a steep increase in dark current is observed due to trap filling (J  Vn, with n = 3.1). Then, when all the traps are filled (V > 0.9 V), space-charge-limited-current regime (also known as Child’s regime) is entered, and the dark current increases quadratically with the applied bias voltage (J  V2).

The electron trap density nt can be calculated using the following equation [S7]:

nt=2ε0εrVTFLed2

where VTFL = 0.22 V is the trap-filled limit voltage (denoting the critical point from Ohmic to trap-filled-limited regime), ε0 = 8.85  10-14 C V-1 cm-1 is the vacuum permittivity, εr = 4.12 is the relative permittivity of FAPbBr3 [S8], e = 1.61  10-19 C is the electron charge and d = 255  5 nm is the film thickness. By substituting the numerical values, we obtain: nt = (1.54  0.06)  1015 cm-3.

Supplementary Note 3: Assessment of the detector sensitivity to pulsed MeV-range X-rays

A medical linear accelerator (LINAC) emits X-rays with a broad continuous energy spectrum (Bremsstrahlung radiation). The maximum energy (Emax) corresponds to the accelerating voltage of the electrons striking a heavy metal target (W in our case). The total X-ray photon flux incident on the detector can be calculated as follows:

φ=0Emax∂φEph∂EphdEph

where Eph is the photon energy, and ∂φin(Eph)/∂Eph is the incident photon flux per unit energy expressed as:

∂φEph∂Eph=DSEphμEphEph

where D is the dose-rate, µ(Eph) is the mass attenuation coefficient of dry air at a given X-ray energy Eph , and S(Eph) represents the Bremsstrahlung spectrum distribution with:

0EmaxSEphdEph=1

The spectral distribution of the Bremsstrahlung radiation emitted by a W target under 6 MeV electrons, as simulated by GEANT4 code [S9], is reported in Fig. S27.

The fraction of photons effectively absorbed by the FAPbBr3 active layer is given by:

ϵEph=1−e−μPEphρd

where µP(Eph), ρ, and d are the X-ray mass attenuation coefficient at a given X-ray energy Eph, density, and thickness of the FAPbBr3 active layer, respectively. In our case, ρ = 3.79 g cm-3 and d = 255  10-7 cm. Figure S28 shows the calculated X-ray attenuation coefficients for FAPbBr3 (red curve) and dry air (blue curve) in the 1 keV – 10 MeV energy range.

Fig. S27.  GEANT4 simulation of the spectrum of X-ray Bremsstrahlung radiation emitted by a W target under 6 MeV electrons.

Fig. S28. Mass attenuation coefficients as a function of the X-ray photon energy for FAPbBr3 (red curve) and dry air (blue curve). Calculations were performed by using the NIST database [S5, S6].

The absorbed photon flux per unit energy can be calculated as:

∂φEph∂Eph=DSEphμEphEph1−e−μPEphρd

Results for the FAPbBr3 active layer, with nominal dose-rates ranging between 1 Gy min-1 and 6 Gy min-1 are reported in Fig. S29:

Fig. S29. Absorbed photon flux per unit energy as a function of  X-ray energy for a 255 nm thick FAPbBr3 layer. Red and blue curves refer to the values estimated for the upper (6 Gy min-1) and the lower (1 Gy min-1) investigated dose-rates, respectively. The shaded area refers to values estimated for 1 < D < 6 Gy min-1.

The absorbed photon flux can be finally derived from the following equation.

φ=0EmaxDSEphμEphEph1−e−μPEphρddEph

By substituting Emax = 6 MeV , we obtain values ranging between 7.1  1010 cm-2 s-1 and 4.3  1011 cm-2 s-1 in the 1 – 6 Gy min-1 dose-rate range.

The previous equation also allows us to estimate the photocurrent density Jph, expressed as the rate of electron-hole pairs generated by the absorbed photons and collected by the electrodes:

Jph=eη0Emax∂φEph∂EphEphEidEph

where e = 1.6  10-19 C is the electron charge, η is the charge collection efficiency, and Ei = 5.99 eV is the electron-hole pair creation energy for FAPbBr3. The maximum theoretical photocurrent density (Jmax) at the different dose-rates, and consequently the maximum theoretical specific surface sensitivity (Smax = Jmax /D), can be obtained by assuming η = 1. For instance, when the dose rate is D = 6 Gy min-1, we obtain Jmax = 2.84 nA cm-2 and Smax = 33.02 nC Gy-1 cm-2, which are remarkably consistent with the values obtained experimentally (Jph = 3.11 ± 0.10 nA cm-2 and Ss = 34.28 ± 1.10 nC Gy-1 cm-2, respectively).

References

[S1] 	O. Almora, D. Baran, G. C. Bazan, C. I. Cabrera, S. Erten-Ela, K. Forberich, F. Guo, J. Hauch, A. W. Y. Ho-Baillie, T. J. Jacobsson, R. A. J. Janssen, T. Kirchartz, N. Kopidakis, M. A. Loi, R. R. Lunt, X. Mathew, M. D. McGehee, J. Min, D. B. Mitzi, M. K. Nazeeruddin, J. Nelson, A. F. Nogueira, U. W. Paetzold, B. P. Rand, U. Rau, H. J. Snaith, E. Unger, L.Vaillant-Roca, C.Yang, H.-L. Yip, C. J. Brabec, Adv. Energy Mater. 2023, 13, 2203313. https://doi.org/10.1002/aenm.202203313

[S2]	F. Matteocci, D. Rossi, L. A. Castriotta, D. Ory, S. Mejaouri, M. Auf der Maur, F. Sauvage, S. Cacovich, A. Di Carlo, Nano Energy 2022, 101, 107560. https://doi.org/10.1016/j.nanoen.2022.107560

[S3]	R. Devanathan, L. R. Corrales, F. Gao, W. J. Weber, Nucl. Instrum. Methods Phys. Res. A 2006, 565, 637–649. https://doi.org/10.1016/j.nima.2006.05.085

[S4]	Y. Rakita, S. R. Cohen, N. K. Kedem, G. Hodes, D. Cahen, MRS Commun. 2015, 5, 623–629. https://doi.org/10.1557/mrc.2015.69.

[S5]	NIST (National Institute of Standards and Technology) – XCOM database, https://physics.nist.gov/PhysRefData/Xcom/html/xcom1.html, accessed: October, 2023.

[S6]	J. H. Hubbell, S. M. Seltzer, X-Ray Mass Attenuation Coefficients, NIST Standard Reference Database 126 (NISTIR 5632), https://dx.doi.org/10.18434/T4D01F, accessed: October, 2023.

[S7]	R. H. Bube, J. Appl. Phys. 1962, 33, 1733–1737. https://doi.org/10.1063/1.1728818

[S8] R. Mayengbam, J. T. Mazumder, Int. J. Energy Res. 2022, 46, 17556–17575. https://doi.org/10.1002/er.8422

[S9]	I. I. Haysak, O. V. Takhtasiev, J. Khushvaktov, A. A. Solnyshkin, A. Tanchak, R. R. Holomb, K. Katovsky, in Proceedings of the 2020 21st International Scientific Conference on Electric Power Engineering (EPE), Prague, Czech Republic, 19–21 October 2020, 1–4. https://doi.org/10.1109/EPE51172.2020.9269252.